## Title-page
СИБИРСКОЕ ОТДЕЛЕНИЕ РАН |  |  | Budker INSTITUTE
ИНСТИТУТ ЯДЕРНОЙ ФИЗИКИ |  |  | OF NUCLEAR PHYSICS SB RAS
им. Г.И.Будкера |  |  | 630090 Novosibirsk,
630090 Новосибирск. РОССИЯ |  |  | RUSSIA
Телефон/Phone: | +7 (3832) 39-47-60
Факс/Fax: | +7 (3832) 34-21-63
INSPECTION REPORT
THE MCIA RESISTIVE CORRECTION DIPOLE MAGNET
MCIA 004

## Contents
CONTENTS
MCIA INSPECTION REPORT : ASSEMBLY | 3
MCIA INSPECTION REPORT : HALF CORE | 4
MCIA INSPECTION REPORT : HALF CORE | 5
MCIA INSPECTION REPORT : COIL | 6
MCIA INSPECTION REPORT : COIL | 7
ANNEX A: RESULTS OF MAGNETIC MEASUREMENTS
Magnetic measuremet results at current I=3.5 A and y=0 m | 8
Fig.1. Magnetic field integral quality at current I=3.5 A and y=0 m | 15
Fig.2. Magnetic field integral quality in the center region of the magnet (I=3.5 A and y=0 m) | a 16

## Assembly
MCIA INSPECTION REPORT : ASSEMBLY
MAGNET VERSION (H: horizontal or V: vertical): | H
MAGNET IDENTIFICATION NUMBER: | MCIA004
DATE | 2002-12-19
MECHANICAL TEST AND MEASUREMENT
|  | unit | value
LONGITUDINAL OFFSET | < 0.25 mm | mm | 0.15 / 0.05
MATING SURFACE CLEARANCES | < 0.05 mm | OK / NOT | OK
VERTICAL STRAIGHTNESS | < 0.1 mm | mm | 0.02
HORIZONTAL STRAIGHTNESS | < 0.1 mm | mm | 0.02
POSITION OF THE TARGET HOLDER 1
TRANSVERSAL POSITION |  | mm
LONGITUDINAL POSITION |  | mm
POSITION OF THE TARGET HOLDER 2
TRANSVERSAL POSITION |  | mm
LONGITUDINAL POSITION |  | mm
ELECTRICAL TEST AND MEASUREMENT
|  | unit | value
TOTAL RESISTANCE OF THE MAGNET AT 20 DEGREES CENTIGRADE | < 11.5 Ohm | Ohm | 9.72
RESISTANCE BETWEEN COILS AND IRON OF THE MAGNET | > 100 MOhm | MOhm | > 2000

## Half core 1
MCIA INSPECTION REPORT : HALF CORE
SERIAL NUMBER | 004
DATE | 2002-12-06
STEEL STOCK USED
The low-carbon steel STABOCOR M 940-50 A with adhesive insulating coating STABOLIT 70
|  | unit | value
WEIGHT OF LAMINATIONS |  | kg | 77.82
MECHANICAL TEST AND MEASUREMENT
|  | unit | value
LENGTH ALONG THE POLE |  | mm | 450
PERPENDICULARITY OF THE END SURFACE 1 TO A | < 0.5 mm | mm | 0.03
PERPENDICULARITY OF THE END SURFACE 1 TO B | < 0.2 mm | mm | < 0.02
PERPENDICULARITY OF THE END SURFACE 2 TO A | < 0.5 mm | mm | 0.12
PERPENDICULARITY OF THE END SURFACE 2 TO B | < 0.2 mm | mm | < 0.03
STRAIGHTNESS ALONG THE POLE |  | mm | 0.02

## Half core 2
MCIA INSPECTION REPORT : HALF CORE
SERIAL NUMBER | 007
DATE | 2002-12-06
STEEL STOCK USED
The low-carbon steel STABOCOR M 940-50 A with adhesive insulating coating STABOLIT 70
|  | unit | value
WEIGHT OF LAMINATIONS |  | kg | 77.73
MECHANICAL TEST AND MEASUREMENT
|  | unit | value
LENGTH ALONG THE POLE |  | mm | 450.1
PERPENDICULARITY OF THE END SURFACE 1 TO A | < 0.5 mm | mm | 0.3
PERPENDICULARITY OF THE END SURFACE 1 TO B | < 0.2 mm | mm | < 0.02
PERPENDICULARITY OF THE END SURFACE 2 TO A | < 0.5 mm | mm | 0.75
PERPENDICULARITY OF THE END SURFACE 2 TO B | < 0.2 mm | mm | < 0.02
STRAIGHTNESS ALONG THE POLE |  | mm | 0.03

## Coil 1
MCIA INSPECTION REPORT : COIL
SERIAL NUMBER | 008
DATE | 2002-12-18
ELECTRICAL TEST AND MEASUREMENT
|  | unit | value
COIL RESISTANCE AT 20 DEGREES CENTIGRADE | < 5.5 Ohm | Ohm | 4.86
GROUND INSULATION TEST | > 100 MOhm | MOhm | 400
INTER-TURN SHORT TEST |  | OK / NOT | OK
MECHANICAL TEST AND MEASUREMENT
|  | unit | value
INNER LENGH |  | mm | 462.2
TOTAL LENGH |  | mm | 591
INNER WIDTH |  | mm | 72.2
TOTAL WIDTH |  | mm | 220.5
THICKNESS |  | mm | 101.2

## Coil 2
MCIA INSPECTION REPORT : COIL
SERIAL NUMBER | 007
DATE | 2002-12-18
ELECTRICAL TEST AND MEASUREMENT
|  | unit | value
COIL RESISTANCE AT 20 DEGREES CENTIGRADE | < 5.5 Ohm | Ohm | 4.81
GROUND INSULATION TEST | > 100 MOhm | MOhm | 500
INTER-TURN SHORT TEST |  | OK / NOT | OK
MECHANICAL TEST AND MEASUREMENT
|  | unit | value
INNER LENGH |  | mm | 462.3
TOTAL LENGH |  | mm | 591
INNER WIDTH |  | mm | 72.3
TOTAL WIDTH |  | mm | 221
THICKNESS |  | mm | 101.3

## Mag. meas. 1
ANNEX A: RESULTS OF MAGNETIC MEASUREMENTS
B(I,x,z) The flux desity at current I=3.5 A and y=0 m, [Gs]
z, cm \ x, mm | -19.647 | -14.647 | -9.142 | -4.564 | 1.181 | 5.351 | 10.516 | 15.457 | 20.777 | Shunt, mV | I, A | Normalization factor
-56 | 20.56 | 20.54 | 20.46 | 20.23 | 20.1 | 19.91 | 19.86 | 19.87 | 19.78 | 559.79 | 3.5043 | 1
-55 | 22.01 | 21.93 | 21.87 | 21.62 | 21.49 | 21.29 | 21.21 | 21.18 | 21.09 | 559.81 | 3.5044 | 0.99996
-54 | 23.56 | 23.48 | 23.37 | 23.16 | 22.98 | 22.77 | 22.65 | 22.58 | 22.54 | 559.81 | 3.5044 | 0.99996
-53 | 25.2 | 25.11 | 24.96 | 24.74 | 24.6 | 24.29 | 24.24 | 24.17 | 24.04 | 559.79 | 3.5043 | 1
-52 | 27.09 | 27.04 | 26.84 | 26.61 | 26.37 | 26.15 | 26.02 | 25.9 | 25.78 | 559.81 | 3.5044 | 0.99996
-51 | 29.07 | 28.97 | 28.81 | 28.53 | 28.29 | 28.01 | 27.9 | 27.74 | 27.57 | 559.81 | 3.5044 | 0.99996
-50 | 31.2 | 31.04 | 30.87 | 30.59 | 30.34 | 30.01 | 29.87 | 29.76 | 29.55 | 559.81 | 3.5044 | 0.99996
-49 | 33.57 | 33.4 | 33.22 | 32.89 | 32.64 | 32.3 | 32.13 | 32.03 | 31.73 | 559.81 | 3.5044 | 0.99996
-48 | 36.23 | 36.05 | 35.89 | 35.47 | 35.23 | 34.83 | 34.68 | 34.49 | 34.2 | 559.81 | 3.5044 | 0.99996
-47 | 39.28 | 39.13 | 38.85 | 38.49 | 38.14 | 37.74 | 37.57 | 37.39 | 37.05 | 559.81 | 3.5044 | 0.99996
-46 | 42.61 | 42.36 | 42.18 | 41.7 | 41.35 | 40.93 | 40.7 | 40.38 | 40 | 559.81 | 3.5044 | 0.99996
-45 | 46.38 | 46.07 | 45.83 | 45.35 | 44.99 | 44.51 | 44.16 | 43.85 | 43.43 | 559.81 | 3.5044 | 0.99996
-44 | 50.54 | 50.21 | 49.96 | 49.42 | 48.96 | 48.42 | 48.11 | 47.76 | 47.25 | 559.83 | 3.5045 | 0.99993
-43 | 55.23 | 54.89 | 54.56 | 53.97 | 53.51 | 52.9 | 52.54 | 52.1 | 51.56 | 559.81 | 3.5044 | 0.99996
-42 | 60.5 | 60.14 | 59.72 | 59.1 | 58.58 | 57.91 | 57.49 | 57.07 | 56.34 | 559.83 | 3.5045 | 0.99993
-41 | 66.45 | 65.97 | 65.63 | 64.9 | 64.27 | 63.58 | 63.12 | 62.61 | 61.9 | 559.83 | 3.5045 | 0.99993
-40 | 73.27 | 72.71 | 72.29 | 71.51 | 70.83 | 70.12 | 69.57 | 68.93 | 68.09 | 559.81 | 3.5044 | 0.99996
-39 | 81.06 | 80.52 | 80.02 | 79.13 | 78.44 | 77.55 | 76.88 | 76.17 | 75.25 | 559.81 | 3.5044 | 0.99996
-38 | 90.05 | 89.48 | 88.89 | 88 | 87.05 | 86.14 | 85.4 | 84.56 | 83.52 | 559.83 | 3.5045 | 0.99993
-37 | 100.49 | 99.88 | 99.16 | 98.21 | 97.15 | 96.15 | 95.27 | 94.26 | 93.04 | 559.81 | 3.5044 | 0.99996
-36 | 112.49 | 111.83 | 111.07 | 110.04 | 108.82 | 107.69 | 106.62 | 105.55 | 104.07 | 559.81 | 3.5044 | 0.99996
-35 | 126.65 | 125.99 | 125.14 | 124.04 | 122.65 | 121.42 | 120.24 | 118.86 | 117.17 | 559.81 | 3.5044 | 0.99996
-34 | 143.43 | 142.81 | 141.88 | 140.71 | 139.16 | 137.82 | 136.41 | 134.83 | 132.79 | 559.83 | 3.5045 | 0.99993
-33 | 163.45 | 162.8 | 161.91 | 160.74 | 158.97 | 157.47 | 155.75 | 153.93 | 151.55 | 559.79 | 3.5043 | 1
-32 | 187.72 | 187.27 | 186.44 | 185.14 | 183.23 | 181.55 | 179.57 | 177.37 | 174.52 | 559.81 | 3.5044 | 0.99996
-31 | 217.56 | 217.47 | 216.74 | 215.52 | 213.38 | 211.54 | 209.21 | 206.6 | 203.05 | 559.83 | 3.5045 | 0.99993
-30 | 255.22 | 255.67 | 255.24 | 254.14 | 251.8 | 249.82 | 247.03 | 243.88 | 239.41 | 559.81 | 3.5044 | 0.99996
-29 | 303.96 | 305.38 | 305.52 | 304.74 | 302.23 | 300.03 | 296.68 | 292.74 | 286.98 | 559.81 | 3.5044 | 0.99996
-28 | 369.37 | 372.38 | 373.48 | 373.26 | 370.65 | 368.2 | 364.18 | 359.1 | 351.43 | 559.81 | 3.5044 | 0.99996
-27 | 460.88 | 466.54 | 469.3 | 470.04 | 467.33 | 464.73 | 459.62 | 453.14 | 442.55 | 559.81 | 3.5044 | 0.99996
-26 | 597 | 606.9 | 612.04 | 614.32 | 611.53 | 608.75 | 602.51 | 594.11 | 579.19 | 559.83 | 3.5045 | 0.99993
-25 | 814.01 | 829.96 | 838.1 | 842.31 | 839.06 | 836.71 | 829.47 | 819.17 | 798.52 | 559.83 | 3.5045 | 0.99993
-24 | 1181.43 | 1202.93 | 1212.56 | 1218.27 | 1213.85 | 1213.02 | 1206.57 | 1197.08 | 1171.63 | 559.83 | 3.5045 | 0.99993
-23 | 1756.24 | 1774.92 | 1781.41 | 1786.67 | 1781.18 | 1782.93 | 1780.53 | 1777.25 | 1756.27 | 559.81 | 3.5044 | 0.99996
-22 | 2290.75 | 2299.85 | 2302.19 | 2304.97 | 2302.53 | 2304.57 | 2305.15 | 2305.74 | 2294.92 | 559.81 | 3.5044 | 0.99996
-21 | 2492.19 | 2498.12 | 2499.53 | 2500.74 | 2500.98 | 2502.1 | 2502.84 | 2502.59 | 2493.54 | 559.83 | 3.5045 | 0.99993
-20 | 2540.51 | 2546.01 | 2547.31 | 2548.1 | 2549.06 | 2549.76 | 2550.3 | 2549.34 | 2539.11 | 559.83 | 3.5045 | 0.99993
-19 | 2557.67 | 2562.95 | 2564.16 | 2564.93 | 2565.98 | 2566.67 | 2567.22 | 2566.21 | 2556.22 | 559.81 | 3.5044 | 0.99996
-18 | 2568.65 | 2573.79 | 2574.97 | 2575.72 | 2576.88 | 2577.58 | 2578.33 | 2577.72 | 2569.25 | 559.81 | 3.5044 | 0.99996
-17 | 2577.42 | 2582.47 | 2583.72 | 2584.47 | 2585.56 | 2586.32 | 2587.1 | 2586.71 | 2578.92 | 559.83 | 3.5045 | 0.99993
-16 | 2584.75 | 2589.77 | 2591.06 | 2591.74 | 2592.76 | 2593.54 | 2594.35 | 2593.97 | 2586.29 | 559.83 | 3.5045 | 0.99993
-15 | 2590.74 | 2595.73 | 2597 | 2597.68 | 2598.73 | 2599.45 | 2600.26 | 2599.85 | 2592.14 | 559.83 | 3.5045 | 0.99993
-14 | 2595.58 | 2600.46 | 2601.64 | 2602.34 | 2603.42 | 2604.17 | 2604.98 | 2604.53 | 2596.78 | 559.83 | 3.5045 | 0.99993
-13 | 2599.28 | 2604.23 | 2605.39 | 2606.05 | 2607.13 | 2607.95 | 2608.71 | 2608.26 | 2600.53 | 559.81 | 3.5044 | 0.99996
-12 | 2602.62 | 2607.56 | 2608.7 | 2609.42 | 2610.43 | 2611.3 | 2611.98 | 2611.55 | 2603.82 | 559.81 | 3.5044 | 0.99996
-11 | 2605.55 | 2610.48 | 2611.6 | 2612.32 | 2613.38 | 2614.18 | 2614.94 | 2614.46 | 2606.84 | 559.83 | 3.5045 | 0.99993
-10 | 2607.89 | 2612.81 | 2613.94 | 2614.69 | 2615.79 | 2616.58 | 2617.37 | 2616.85 | 2609.18 | 559.83 | 3.5045 | 0.99993
-9 | 2609.61 | 2614.52 | 2615.71 | 2616.4 | 2617.49 | 2618.37 | 2619.03 | 2618.56 | 2610.86 | 559.83 | 3.5045 | 0.99993
-8 | 2610.77 | 2615.72 | 2616.88 | 2617.64 | 2618.73 | 2619.51 | 2620.28 | 2619.81 | 2612.11 | 559.83 | 3.5045 | 0.99993
-7 | 2611.53 | 2616.48 | 2617.63 | 2618.35 | 2619.48 | 2620.26 | 2621.08 | 2620.67 | 2612.92 | 559.83 | 3.5045 | 0.99993
-6 | 2612.01 | 2616.82 | 2618.01 | 2618.73 | 2619.86 | 2620.6 | 2621.42 | 2621 | 2613.21 | 559.83 | 3.5045 | 0.99993
-5 | 2612.2 | 2617.05 | 2618.28 | 2619.01 | 2620.14 | 2620.87 | 2621.7 | 2621.28 | 2613.44 | 559.81 | 3.5044 | 0.99996
-4 | 2612.3 | 2617.15 | 2618.33 | 2619.06 | 2620.29 | 2621.02 | 2621.8 | 2621.33 | 2613.59 | 559.83 | 3.5045 | 0.99993
-3 | 2612.52 | 2617.33 | 2618.51 | 2619.24 | 2620.37 | 2621.1 | 2621.93 | 2621.47 | 2613.67 | 559.83 | 3.5045 | 0.99993
-2 | 2612.67 | 2617.52 | 2618.6 | 2619.34 | 2620.52 | 2621.25 | 2621.98 | 2621.42 | 2613.34 | 559.83 | 3.5045 | 0.99993
-1 | 2612.85 | 2617.7 | 2618.83 | 2619.52 | 2620.6 | 2621.28 | 2621.83 | 2620.98 | 2611.84 | 559.83 | 3.5045 | 0.99993
0 | 2612.9 | 2617.75 | 2618.83 | 2619.52 | 2620.6 | 2621.24 | 2621.68 | 2620.41 | 2609.83 | 559.83 | 3.5045 | 0.99993
1 | 2612.9 | 2617.7 | 2618.78 | 2619.51 | 2620.6 | 2621.28 | 2621.83 | 2620.88 | 2611.46 | 559.83 | 3.5045 | 0.99993
2 | 2612.71 | 2617.6 | 2618.73 | 2619.37 | 2620.5 | 2621.23 | 2621.87 | 2621.26 | 2613.04 | 559.83 | 3.5045 | 0.99993
3 | 2612.61 | 2617.51 | 2618.64 | 2619.33 | 2620.41 | 2621.14 | 2621.88 | 2621.41 | 2613.47 | 559.83 | 3.5045 | 0.99993
4 | 2612.61 | 2617.46 | 2618.64 | 2619.32 | 2620.41 | 2621.09 | 2621.82 | 2621.36 | 2613.47 | 559.83 | 3.5045 | 0.99993
5 | 2612.46 | 2617.36 | 2618.49 | 2619.18 | 2620.26 | 2620.99 | 2621.77 | 2621.26 | 2613.32 | 559.83 | 3.5045 | 0.99993
6 | 2612.13 | 2617.03 | 2618.17 | 2618.89 | 2619.98 | 2620.71 | 2621.39 | 2620.92 | 2613.03 | 559.83 | 3.5045 | 0.99993
7 | 2611.64 | 2616.5 | 2617.69 | 2618.36 | 2619.5 | 2620.19 | 2620.86 | 2620.44 | 2612.55 | 559.84 | 3.5046 | 0.99991
8 | 2610.83 | 2615.68 | 2616.85 | 2617.55 | 2618.64 | 2619.43 | 2620.1 | 2619.63 | 2611.73 | 559.83 | 3.5045 | 0.99993
9 | 2609.62 | 2614.53 | 2615.67 | 2616.36 | 2617.5 | 2618.24 | 2618.95 | 2618.52 | 2610.58 | 559.83 | 3.5045 | 0.99993
10 | 2607.95 | 2612.77 | 2613.94 | 2614.65 | 2615.8 | 2616.5 | 2617.23 | 2616.8 | 2608.9 | 559.83 | 3.5045 | 0.99993
11 | 2605.6 | 2610.52 | 2611.7 | 2612.37 | 2613.52 | 2614.23 | 2614.99 | 2614.46 | 2606.65 | 559.83 | 3.5045 | 0.99993
12 | 2602.67 | 2607.56 | 2608.79 | 2609.51 | 2610.63 | 2611.34 | 2612.08 | 2611.54 | 2603.68 | 559.84 | 3.5046 | 0.99991
13 | 2599.51 | 2604.41 | 2605.56 | 2606.28 | 2607.4 | 2608.08 | 2608.84 | 2608.24 | 2600.42 | 559.83 | 3.5045 | 0.99993
14 | 2595.91 | 2600.83 | 2602.05 | 2602.67 | 2603.8 | 2604.5 | 2605.21 | 2604.61 | 2596.73 | 559.83 | 3.5045 | 0.99993
15 | 2591.17 | 2596.15 | 2597.33 | 2598.01 | 2599.11 | 2599.82 | 2600.45 | 2599.93 | 2592.03 | 559.83 | 3.5045 | 0.99993
16 | 2585.12 | 2590.04 | 2591.23 | 2591.86 | 2593.03 | 2593.67 | 2594.38 | 2593.8 | 2585.94 | 559.83 | 3.5045 | 0.99993
17 | 2577.65 | 2582.54 | 2583.84 | 2584.45 | 2585.59 | 2586.26 | 2586.85 | 2586.2 | 2578.23 | 559.83 | 3.5045 | 0.99993
18 | 2568.44 | 2573.42 | 2574.67 | 2575.32 | 2576.44 | 2577.04 | 2577.55 | 2576.59 | 2568.07 | 559.81 | 3.5044 | 0.99996
19 | 2557.12 | 2562.2 | 2563.47 | 2564.14 | 2565.24 | 2565.79 | 2566.1 | 2564.73 | 2554.64 | 559.81 | 3.5044 | 0.99996
20 | 2539.86 | 2545.06 | 2546.44 | 2547.12 | 2548.27 | 2548.74 | 2548.98 | 2547.29 | 2536.92 | 559.83 | 3.5045 | 0.99993
21 | 2493.06 | 2498.46 | 2500.19 | 2500.88 | 2502.5 | 2502.67 | 2502.32 | 2499.9 | 2490.18 | 559.83 | 3.5045 | 0.99993
22 | 2298.98 | 2306.07 | 2309.88 | 2310.26 | 2314.08 | 2312.06 | 2308.65 | 2300.86 | 2287.58 | 559.83 | 3.5045 | 0.99993
23 | 1772.06 | 1787.26 | 1796.34 | 1797.34 | 1803.25 | 1797.66 | 1788.17 | 1769.88 | 1744.7 | 559.84 | 3.5046 | 0.99991
24 | 1191.81 | 1210.96 | 1222.46 | 1225.11 | 1229.22 | 1223.01 | 1210.93 | 1190.05 | 1161.69 | 559.83 | 3.5045 | 0.99993
25 | 819.34 | 834.06 | 843.23 | 845.81 | 847.53 | 842.15 | 831.26 | 814.22 | 792.06 | 559.83 | 3.5045 | 0.99993
26 | 599.24 | 608.42 | 614.21 | 615.63 | 615.62 | 611.35 | 602.63 | 590.03 | 574.47 | 559.81 | 3.5044 | 0.99996
27 | 461.64 | 466.85 | 469.89 | 470.3 | 469.22 | 465.75 | 459.02 | 449.79 | 438.95 | 559.83 | 3.5045 | 0.99993
28 | 369.3 | 371.93 | 373.23 | 372.95 | 371.25 | 368.47 | 363.1 | 356.24 | 348.46 | 559.83 | 3.5045 | 0.99993
29 | 303.46 | 304.6 | 304.8 | 304.1 | 302.12 | 299.77 | 295.46 | 290.22 | 284.46 | 559.83 | 3.5045 | 0.99993
30 | 254.39 | 254.65 | 254.29 | 253.31 | 251.26 | 249.29 | 245.72 | 241.6 | 237.17 | 559.84 | 3.5046 | 0.99991
31 | 216.58 | 216.31 | 215.6 | 214.55 | 212.51 | 210.81 | 207.8 | 204.42 | 201.01 | 559.82 | 3.5045 | 0.99995
32 | 186.65 | 186.1 | 185.16 | 184.07 | 182.17 | 180.77 | 178.16 | 175.43 | 172.67 | 559.82 | 3.5045 | 0.99995
33 | 162.47 | 161.78 | 160.78 | 159.78 | 158.01 | 156.79 | 154.54 | 152.23 | 150 | 559.83 | 3.5045 | 0.99993
34 | 142.46 | 141.74 | 140.7 | 139.84 | 138.1 | 137.05 | 135.15 | 133.23 | 131.43 | 559.84 | 3.5046 | 0.99991
35 | 125.73 | 125.02 | 124.1 | 123.31 | 121.69 | 120.84 | 119.13 | 117.5 | 116.01 | 559.83 | 3.5045 | 0.99993
36 | 111.71 | 111 | 110.13 | 109.46 | 107.96 | 107.21 | 105.75 | 104.33 | 103.14 | 559.83 | 3.5045 | 0.99993
37 | 99.76 | 99.11 | 98.31 | 97.67 | 96.33 | 95.72 | 94.39 | 93.14 | 92.22 | 559.83 | 3.5045 | 0.99993
38 | 89.56 | 88.94 | 88.18 | 87.61 | 86.42 | 85.89 | 84.72 | 83.74 | 82.93 | 559.83 | 3.5045 | 0.99993
39 | 80.71 | 80.13 | 79.46 | 78.98 | 77.86 | 77.41 | 76.4 | 75.49 | 74.86 | 559.83 | 3.5045 | 0.99993
40 | 73.02 | 72.51 | 71.95 | 71.46 | 70.49 | 70.11 | 69.13 | 68.45 | 67.89 | 559.83 | 3.5045 | 0.99993
41 | 66.35 | 65.91 | 65.34 | 64.99 | 64.03 | 63.72 | 62.97 | 62.32 | 61.85 | 559.83 | 3.5045 | 0.99993
42 | 60.55 | 60.18 | 59.67 | 59.38 | 58.48 | 58.24 | 57.49 | 56.97 | 56.58 | 559.84 | 3.5046 | 0.99991
43 | 55.38 | 55.08 | 54.55 | 54.35 | 53.5 | 53.38 | 52.68 | 52.14 | 51.89 | 559.83 | 3.5045 | 0.99993
44 | 50.93 | 50.6 | 50.19 | 49.94 | 49.2 | 49.04 | 48.44 | 47.99 | 47.83 | 559.83 | 3.5045 | 0.99993
45 | 46.96 | 46.69 | 46.3 | 46.11 | 45.46 | 45.32 | 44.74 | 44.33 | 44.2 | 559.81 | 3.5044 | 0.99996
46 | 43.38 | 43.18 | 42.78 | 42.66 | 41.97 | 41.93 | 41.42 | 41.05 | 41.01 | 559.83 | 3.5045 | 0.99993
47 | 40.19 | 40 | 39.64 | 39.55 | 38.91 | 38.83 | 38.39 | 38.15 | 38.11 | 559.81 | 3.5044 | 0.99996
48 | 37.34 | 37.16 | 36.92 | 36.77 | 36.18 | 36.16 | 35.79 | 35.5 | 35.45 | 559.83 | 3.5045 | 0.99993
49 | 34.83 | 34.7 | 34.43 | 34.37 | 33.79 | 33.78 | 33.38 | 33.14 | 33.18 | 559.84 | 3.5046 | 0.99991
50 | 32.55 | 32.48 | 32.18 | 32.12 | 31.59 | 31.63 | 31.26 | 31.11 | 31.15 | 559.83 | 3.5045 | 0.99993
51 | 30.52 | 30.46 | 30.21 | 30.2 | 29.67 | 29.73 | 29.34 | 29.18 | 29.26 | 559.83 | 3.5045 | 0.99993
52 | 28.68 | 28.68 | 28.39 | 28.38 | 27.9 | 27.96 | 27.61 | 27.45 | 27.52 | 559.83 | 3.5045 | 0.99993
53 | 27.09 | 27.04 | 26.79 | 26.75 | 26.32 | 26.39 | 26.12 | 25.95 | 26.07 | 559.83 | 3.5045 | 0.99993
54 | 25.49 | 25.5 | 25.24 | 25.27 | 24.84 | 24.91 | 24.62 | 24.5 | 24.62 | 559.83 | 3.5045 | 0.99993
55 | 24.19 | 24.2 | 23.93 | 23.92 | 23.5 | 23.67 | 23.32 | 23.3 | 23.36 | 559.84 | 3.5046 | 0.99991
56 | 22.93 | 22.94 | 22.76 | 22.77 | 22.3 | 22.38 | 22.12 | 22.04 | 22.2 | 559.83 | 3.5045 | 0.99993
B(I,x,z) The normalized flux desity at current I=3.5 A and calculations (y=0 m), [T]
z, m \ x, m | -0.019647 | -0.014647 | -0.009142 | -0.004564 | 0.00181 | 0.005351 | 0.010516 | 0.015457 | 0.020777
-0.56 | 0.002056 | 0.002054 | 0.002046 | 0.002023 | 0.00201 | 0.001991 | 0.001986 | 0.001987 | 0.001978
-0.55 | 0.0022009 | 0.0021929 | 0.0021869 | 0.0021619 | 0.0021489 | 0.0021289 | 0.0021209 | 0.0021179 | 0.0021089
-0.54 | 0.0023559 | 0.0023479 | 0.0023369 | 0.0023159 | 0.0022979 | 0.0022769 | 0.0022649 | 0.0022579 | 0.0022539
-0.53 | 0.00252 | 0.002511 | 0.002496 | 0.002474 | 0.00246 | 0.002429 | 0.002424 | 0.002417 | 0.002404
-0.52 | 0.0027089 | 0.0027039 | 0.0026839 | 0.0026609 | 0.0026369 | 0.0026149 | 0.0026019 | 0.0025899 | 0.0025779
-0.51 | 0.0029069 | 0.0028969 | 0.0028809 | 0.0028529 | 0.0028289 | 0.0028009 | 0.0027899 | 0.0027739 | 0.0027569
-0.5 | 0.0031199 | 0.0031039 | 0.0030869 | 0.0030589 | 0.0030339 | 0.0030009 | 0.0029869 | 0.0029759 | 0.0029549
-0.49 | 0.0033569 | 0.0033399 | 0.0033219 | 0.0032889 | 0.0032639 | 0.0032299 | 0.0032129 | 0.0032029 | 0.0031729
-0.48 | 0.0036229 | 0.0036049 | 0.0035889 | 0.0035469 | 0.0035229 | 0.0034829 | 0.0034679 | 0.0034489 | 0.0034199
-0.47 | 0.0039279 | 0.0039129 | 0.0038849 | 0.0038489 | 0.0038139 | 0.0037739 | 0.0037569 | 0.0037389 | 0.0037049
-0.46 | 0.0042608 | 0.0042358 | 0.0042178 | 0.0041699 | 0.0041349 | 0.0040929 | 0.0040699 | 0.0040379 | 0.0039999
-0.45 | 0.0046378 | 0.0046068 | 0.0045828 | 0.0045348 | 0.0044988 | 0.0044508 | 0.0044158 | 0.0043848 | 0.0043428
-0.44 | 0.0050536 | 0.0050206 | 0.0049956 | 0.0049416 | 0.0048957 | 0.0048417 | 0.0048107 | 0.0047757 | 0.0047247
-0.43 | 0.0055228 | 0.0054888 | 0.0054558 | 0.0053968 | 0.0053508 | 0.0052898 | 0.0052538 | 0.0052098 | 0.0051558
-0.42 | 0.0060496 | 0.0060136 | 0.0059716 | 0.0059096 | 0.0058576 | 0.0057906 | 0.0057486 | 0.0057066 | 0.0056336
-0.41 | 0.0066445 | 0.0065965 | 0.0065625 | 0.0064895 | 0.0064265 | 0.0063575 | 0.0063115 | 0.0062606 | 0.0061896
-0.4 | 0.0073267 | 0.0072707 | 0.0072287 | 0.0071507 | 0.0070827 | 0.0070117 | 0.0069568 | 0.0068928 | 0.0068088
-0.39 | 0.0081057 | 0.0080517 | 0.0080017 | 0.0079127 | 0.0078437 | 0.0077547 | 0.0076877 | 0.0076167 | 0.0075247
-0.38 | 0.0090044 | 0.0089474 | 0.0088884 | 0.0087994 | 0.0087044 | 0.0086134 | 0.0085394 | 0.0084554 | 0.0083514
-0.37 | 0.010049 | 0.0099876 | 0.0099156 | 0.0098206 | 0.0097147 | 0.0096147 | 0.0095267 | 0.0094257 | 0.0093037
-0.36 | 0.011249 | 0.011183 | 0.011107 | 0.011004 | 0.010882 | 0.010769 | 0.010662 | 0.010555 | 0.010407
-0.35 | 0.012665 | 0.012599 | 0.012514 | 0.012404 | 0.012265 | 0.012142 | 0.012024 | 0.011886 | 0.011717
-0.34 | 0.014342 | 0.01428 | 0.014187 | 0.01407 | 0.013915 | 0.013781 | 0.01364 | 0.013482 | 0.013278
-0.33 | 0.016345 | 0.01628 | 0.016191 | 0.016074 | 0.015897 | 0.015747 | 0.015575 | 0.015393 | 0.015155
-0.32 | 0.018771 | 0.018726 | 0.018643 | 0.018513 | 0.018322 | 0.018154 | 0.017956 | 0.017736 | 0.017451
-0.31 | 0.021754 | 0.021745 | 0.021672 | 0.02155 | 0.021336 | 0.021152 | 0.02092 | 0.020659 | 0.020304
-0.3 | 0.025521 | 0.025566 | 0.025523 | 0.025413 | 0.025179 | 0.024981 | 0.024702 | 0.024387 | 0.02394
-0.29 | 0.030395 | 0.030537 | 0.030551 | 0.030473 | 0.030222 | 0.030002 | 0.029667 | 0.029273 | 0.028697
-0.28 | 0.036936 | 0.037237 | 0.037347 | 0.037325 | 0.037064 | 0.036819 | 0.036417 | 0.035909 | 0.035142
-0.27 | 0.046086 | 0.046652 | 0.046928 | 0.047002 | 0.046731 | 0.046471 | 0.04596 | 0.045312 | 0.044253
-0.26 | 0.059696 | 0.060686 | 0.0612 | 0.061428 | 0.061149 | 0.060871 | 0.060247 | 0.059407 | 0.057915
-0.25 | 0.081395 | 0.08299 | 0.083804 | 0.084225 | 0.0839 | 0.083665 | 0.082941 | 0.081911 | 0.079846
-0.24 | 0.11813 | 0.12028 | 0.12125 | 0.12182 | 0.12138 | 0.12129 | 0.12065 | 0.1197 | 0.11715
-0.23 | 0.17562 | 0.17749 | 0.17813 | 0.17866 | 0.17811 | 0.17829 | 0.17805 | 0.17772 | 0.17562
-0.22 | 0.22907 | 0.22998 | 0.23021 | 0.23049 | 0.23024 | 0.23045 | 0.23051 | 0.23057 | 0.22948
-0.21 | 0.2492 | 0.24979 | 0.24994 | 0.25006 | 0.25008 | 0.25019 | 0.25027 | 0.25024 | 0.24934
-0.2 | 0.25403 | 0.25458 | 0.25471 | 0.25479 | 0.25489 | 0.25496 | 0.25501 | 0.25492 | 0.25389
-0.19 | 0.25576 | 0.25629 | 0.25641 | 0.25648 | 0.25659 | 0.25666 | 0.25671 | 0.25661 | 0.25561
-0.18 | 0.25686 | 0.25737 | 0.25749 | 0.25756 | 0.25768 | 0.25775 | 0.25782 | 0.25776 | 0.25692
-0.17 | 0.25772 | 0.25823 | 0.25835 | 0.25843 | 0.25854 | 0.25861 | 0.25869 | 0.25865 | 0.25787
-0.16 | 0.25846 | 0.25896 | 0.25909 | 0.25916 | 0.25926 | 0.25934 | 0.25942 | 0.25938 | 0.25861
-0.15 | 0.25906 | 0.25955 | 0.25968 | 0.25975 | 0.25985 | 0.25993 | 0.26001 | 0.25997 | 0.2592
-0.14 | 0.25954 | 0.26003 | 0.26015 | 0.26022 | 0.26032 | 0.2604 | 0.26048 | 0.26043 | 0.25966
-0.13 | 0.25992 | 0.26041 | 0.26053 | 0.2606 | 0.2607 | 0.26079 | 0.26086 | 0.26082 | 0.26004
-0.12 | 0.26025 | 0.26075 | 0.26086 | 0.26093 | 0.26103 | 0.26112 | 0.26119 | 0.26115 | 0.26037
-0.11 | 0.26054 | 0.26103 | 0.26114 | 0.26121 | 0.26132 | 0.2614 | 0.26148 | 0.26143 | 0.26067
-0.1 | 0.26077 | 0.26126 | 0.26138 | 0.26145 | 0.26156 | 0.26164 | 0.26172 | 0.26167 | 0.2609
-0.09 | 0.26094 | 0.26143 | 0.26155 | 0.26162 | 0.26173 | 0.26182 | 0.26188 | 0.26184 | 0.26107
-0.08 | 0.26106 | 0.26155 | 0.26167 | 0.26175 | 0.26185 | 0.26193 | 0.26201 | 0.26196 | 0.26119
-0.07 | 0.26113 | 0.26163 | 0.26174 | 0.26182 | 0.26193 | 0.26201 | 0.26209 | 0.26205 | 0.26127
-0.06 | 0.26118 | 0.26166 | 0.26178 | 0.26185 | 0.26197 | 0.26204 | 0.26212 | 0.26208 | 0.2613
-0.05 | 0.26121 | 0.2617 | 0.26182 | 0.26189 | 0.262 | 0.26208 | 0.26216 | 0.26212 | 0.26133
-0.04 | 0.26121 | 0.2617 | 0.26181 | 0.26189 | 0.26201 | 0.26208 | 0.26216 | 0.26211 | 0.26134
-0.03 | 0.26123 | 0.26171 | 0.26183 | 0.26191 | 0.26202 | 0.26209 | 0.26217 | 0.26213 | 0.26135
-0.02 | 0.26125 | 0.26173 | 0.26184 | 0.26192 | 0.26203 | 0.26211 | 0.26218 | 0.26212 | 0.26132
-0.01 | 0.26127 | 0.26175 | 0.26186 | 0.26193 | 0.26204 | 0.26211 | 0.26216 | 0.26208 | 0.26117
0 | 0.26127 | 0.26176 | 0.26186 | 0.26193 | 0.26204 | 0.26211 | 0.26215 | 0.26202 | 0.26096
0.01 | 0.26127 | 0.26175 | 0.26186 | 0.26193 | 0.26204 | 0.26211 | 0.26216 | 0.26207 | 0.26113
0.02 | 0.26125 | 0.26174 | 0.26185 | 0.26192 | 0.26203 | 0.2621 | 0.26217 | 0.26211 | 0.26129
0.03 | 0.26124 | 0.26173 | 0.26185 | 0.26191 | 0.26202 | 0.2621 | 0.26217 | 0.26212 | 0.26133
0.04 | 0.26124 | 0.26173 | 0.26185 | 0.26191 | 0.26202 | 0.26209 | 0.26216 | 0.26212 | 0.26133
0.05 | 0.26123 | 0.26172 | 0.26183 | 0.2619 | 0.26201 | 0.26208 | 0.26216 | 0.26211 | 0.26131
0.06 | 0.26119 | 0.26168 | 0.2618 | 0.26187 | 0.26198 | 0.26205 | 0.26212 | 0.26207 | 0.26128
0.07 | 0.26114 | 0.26163 | 0.26175 | 0.26181 | 0.26193 | 0.262 | 0.26206 | 0.26202 | 0.26123
0.08 | 0.26106 | 0.26155 | 0.26167 | 0.26174 | 0.26185 | 0.26192 | 0.26199 | 0.26194 | 0.26115
0.09 | 0.26094 | 0.26143 | 0.26155 | 0.26162 | 0.26173 | 0.26181 | 0.26188 | 0.26183 | 0.26104
0.1 | 0.26078 | 0.26126 | 0.26138 | 0.26145 | 0.26156 | 0.26163 | 0.2617 | 0.26166 | 0.26087
0.11 | 0.26054 | 0.26103 | 0.26115 | 0.26122 | 0.26133 | 0.2614 | 0.26148 | 0.26143 | 0.26065
0.12 | 0.26024 | 0.26073 | 0.26086 | 0.26093 | 0.26104 | 0.26111 | 0.26118 | 0.26113 | 0.26034
0.13 | 0.25993 | 0.26042 | 0.26054 | 0.26061 | 0.26072 | 0.26079 | 0.26087 | 0.26081 | 0.26002
0.14 | 0.25957 | 0.26006 | 0.26019 | 0.26025 | 0.26036 | 0.26043 | 0.2605 | 0.26044 | 0.25965
0.15 | 0.2591 | 0.2596 | 0.25971 | 0.25978 | 0.25989 | 0.25996 | 0.26003 | 0.25997 | 0.25918
0.16 | 0.25849 | 0.25899 | 0.2591 | 0.25917 | 0.25928 | 0.25935 | 0.25942 | 0.25936 | 0.25858
0.17 | 0.25775 | 0.25824 | 0.25837 | 0.25843 | 0.25854 | 0.25861 | 0.25867 | 0.2586 | 0.2578
0.18 | 0.25683 | 0.25733 | 0.25746 | 0.25752 | 0.25763 | 0.25769 | 0.25775 | 0.25765 | 0.2568
0.19 | 0.2557 | 0.25621 | 0.25634 | 0.2564 | 0.25651 | 0.25657 | 0.2566 | 0.25646 | 0.25545
0.2 | 0.25397 | 0.25449 | 0.25463 | 0.25469 | 0.25481 | 0.25486 | 0.25488 | 0.25471 | 0.25367
0.21 | 0.24929 | 0.24983 | 0.25 | 0.25007 | 0.25023 | 0.25025 | 0.25021 | 0.24997 | 0.249
0.22 | 0.22988 | 0.23059 | 0.23097 | 0.23101 | 0.23139 | 0.23119 | 0.23085 | 0.23007 | 0.22874
0.23 | 0.17719 | 0.17871 | 0.17962 | 0.17972 | 0.18031 | 0.17975 | 0.1788 | 0.17697 | 0.17445
0.24 | 0.11917 | 0.12109 | 0.12224 | 0.1225 | 0.12291 | 0.12229 | 0.12108 | 0.119 | 0.11616
0.25 | 0.081928 | 0.0834 | 0.084317 | 0.084575 | 0.084747 | 0.084209 | 0.08312 | 0.081416 | 0.0792
0.26 | 0.059922 | 0.06084 | 0.061419 | 0.061561 | 0.06156 | 0.061133 | 0.060261 | 0.059001 | 0.057445
0.27 | 0.046161 | 0.046682 | 0.046986 | 0.047027 | 0.046919 | 0.046572 | 0.045899 | 0.044976 | 0.043892
0.28 | 0.036927 | 0.03719 | 0.03732 | 0.037292 | 0.037122 | 0.036844 | 0.036307 | 0.035621 | 0.034844
0.29 | 0.030344 | 0.030458 | 0.030478 | 0.030408 | 0.03021 | 0.029975 | 0.029544 | 0.02902 | 0.028444
0.3 | 0.025437 | 0.025463 | 0.025427 | 0.025329 | 0.025124 | 0.024927 | 0.02457 | 0.024158 | 0.023715
0.31 | 0.021657 | 0.02163 | 0.021559 | 0.021454 | 0.02125 | 0.02108 | 0.020779 | 0.020441 | 0.0201
0.32 | 0.018664 | 0.018609 | 0.018515 | 0.018406 | 0.018216 | 0.018076 | 0.017815 | 0.017542 | 0.017266
0.33 | 0.016246 | 0.016177 | 0.016077 | 0.015977 | 0.0158 | 0.015678 | 0.015453 | 0.015222 | 0.014999
0.34 | 0.014245 | 0.014173 | 0.014069 | 0.013983 | 0.013809 | 0.013704 | 0.013514 | 0.013322 | 0.013142
0.35 | 0.012572 | 0.012501 | 0.012409 | 0.01233 | 0.012168 | 0.012083 | 0.011912 | 0.011749 | 0.0116
0.36 | 0.01117 | 0.011099 | 0.011012 | 0.010945 | 0.010795 | 0.01072 | 0.010574 | 0.010432 | 0.010313
0.37 | 0.0099753 | 0.0099103 | 0.0098303 | 0.0097663 | 0.0096323 | 0.0095713 | 0.0094383 | 0.0093133 | 0.0092213
0.38 | 0.0089554 | 0.0088934 | 0.0088174 | 0.0087604 | 0.0086414 | 0.0085884 | 0.0084714 | 0.0083734 | 0.0082924
0.39 | 0.0080704 | 0.0080124 | 0.0079454 | 0.0078974 | 0.0077854 | 0.0077404 | 0.0076395 | 0.0075485 | 0.0074855
0.4 | 0.0073015 | 0.0072505 | 0.0071945 | 0.0071455 | 0.0070485 | 0.0070105 | 0.0069125 | 0.0068445 | 0.0067885
0.41 | 0.0066345 | 0.0065905 | 0.0065335 | 0.0064985 | 0.0064025 | 0.0063715 | 0.0062966 | 0.0062316 | 0.0061846
0.42 | 0.0060545 | 0.0060175 | 0.0059665 | 0.0059375 | 0.0058475 | 0.0058235 | 0.0057485 | 0.0056965 | 0.0056575
0.43 | 0.0055376 | 0.0055076 | 0.0054546 | 0.0054346 | 0.0053496 | 0.0053376 | 0.0052676 | 0.0052136 | 0.0051886
0.44 | 0.0050926 | 0.0050596 | 0.0050186 | 0.0049936 | 0.0049196 | 0.0049036 | 0.0048437 | 0.0047987 | 0.0047827
0.45 | 0.0046958 | 0.0046688 | 0.0046298 | 0.0046108 | 0.0045458 | 0.0045318 | 0.0044738 | 0.0044328 | 0.0044198
0.46 | 0.0043377 | 0.0043177 | 0.0042777 | 0.0042657 | 0.0041967 | 0.0041927 | 0.0041417 | 0.0041047 | 0.0041007
0.47 | 0.0040189 | 0.0039999 | 0.0039639 | 0.0039549 | 0.0038909 | 0.0038829 | 0.0038389 | 0.0038149 | 0.0038109
0.48 | 0.0037337 | 0.0037157 | 0.0036917 | 0.0036767 | 0.0036177 | 0.0036157 | 0.0035787 | 0.0035497 | 0.0035447
0.49 | 0.0034827 | 0.0034697 | 0.0034427 | 0.0034367 | 0.0033787 | 0.0033777 | 0.0033377 | 0.0033137 | 0.0033177
0.5 | 0.0032548 | 0.0032478 | 0.0032178 | 0.0032118 | 0.0031588 | 0.0031628 | 0.0031258 | 0.0031108 | 0.0031148
0.51 | 0.0030518 | 0.0030458 | 0.0030208 | 0.0030198 | 0.0029668 | 0.0029728 | 0.0029338 | 0.0029178 | 0.0029258
0.52 | 0.0028678 | 0.0028678 | 0.0028388 | 0.0028378 | 0.0027898 | 0.0027958 | 0.0027608 | 0.0027448 | 0.0027518
0.53 | 0.0027088 | 0.0027038 | 0.0026788 | 0.0026748 | 0.0026318 | 0.0026388 | 0.0026118 | 0.0025948 | 0.0026068
0.54 | 0.0025488 | 0.0025498 | 0.0025238 | 0.0025268 | 0.0024838 | 0.0024908 | 0.0024618 | 0.0024498 | 0.0024618
0.55 | 0.0024188 | 0.0024198 | 0.0023928 | 0.0023918 | 0.0023498 | 0.0023668 | 0.0023318 | 0.0023298 | 0.0023358
0.56 | 0.0022928 | 0.0022938 | 0.0022758 | 0.0022768 | 0.0022298 | 0.0022378 | 0.0022118 | 0.0022038 | 0.0022198
Magnetic field quality in the center of the magnet
0 | -0.0029383 | -0.0010875 | -0.00067542 | -0.00041212 | 0 | 0.00024422 | 0.00041212 | -7.2502e-05 | -0.0041097
Full magnetic field integral, [Tm] | 0.13136 | 0.13172 | 0.13183 | 0.13186 | 0.13184 | 0.1318 | 0.13169 | 0.13147 | 0.13082
Magnetic field integral in center region, [Tm] | 0.078235 | 0.078382 | 0.078416 | 0.078437 | 0.078471 | 0.078493 | 0.078514 | 0.078498 | 0.078258
Magnetic field integral quality | -0.0036234 | -0.00091504 | -0.00010776 | 0.00011923 | 0 | -0.00032374 | -0.001185 | -0.0028412 | -0.0077762
Magnetic field integral quality in center region | -0.0030037 | -0.0011356 | -0.00069263 | -0.00042401 | 0 | 0.00028244 | 0.00055794 | 0.00035297 | -0.0027145
|  |  |  | The average flux density in the centre of the magnet | 0.26147 | T
|  |  |  | The equivalent length at transverse pozition x=0 m | 0.50422 | m